## Template
Channels Information | [5 empty] | Modules Information |  |  | Functional Block LSAI/LSDI/LSDO | [5 empty] | Functional Block LSAVTR/LSDVTR
№ | SLS | DST | Type | Channel | Channel Description | Area | Module Name | Module Description | Name | Type | 0 | 100 | Units | Decpt | Name | Type | In | Num2Trip | Detect Type | P Trip | Trip | Status Opts | Bypass Opts | Bypass Permit
1 | PSD_SLS-1 | HS-1 | DI | 1 | Кнопка аварийного останова | SIS | PSD_SLS-1_M1 | Аварийный останов и разрешение байпасов |  | DI | [5 empty] | DVTR | [5 empty] | Always Use Value
2 | PSD_SLS-1 | HS-2 | DI | 2 | Кнопка разрешения байпасов | SIS | PSD_SLS-1_M1 |  |  | DI | [5 empty] | DVTR | [5 empty] | Always Use Value
3 | PSD_SLS-1 | LT-1 | HART AI | 4 | Уровень в емкости 1 | SIS | PSD_SLS-1_M2 | Управление клапанами XV-1,2,3 |  | AI |  |  | % |  |  | AVTR |  |  | Greater Than | 80 | 88 | Will Not Vote if Bad |  | Yes
4 | PSD_SLS-1 | PT-1 | HART AI | 5 | Давление на входе | SIS | PSD_SLS-1_M2 |  |  | AI | 0 | 40 | бар | 2 |  | AVTR |  |  | Less Than | 15 | 10 | Vote to Trip if Bad |  | Yes
5 | PSD_SLS-1 | PT-2 | HART AI | 6 | Давление на выходе | SIS | PSD_SLS-1_M2 |  |  | AI | 0 | 20 | бар | 2 |  | AVTR |  |  | Less Than | 6 | 5 | Vote to Trip if Bad |  | Yes
6 | PSD_SLS-1 | ZYC-XV-1 | DI | 8 | XV-1 Закрыт | SIS | PSD_SLS-1_M2 |  |  | DI
7 | PSD_SLS-1 | ZYO-XV-1 | DI | 9 | XV-1 Открыт | SIS | PSD_SLS-1_M2 |  |  | DI
8 | PSD_SLS-1 | ZYC-XV-2 | DI | 10 | XV-2 Закрыт | SIS | PSD_SLS-1_M2 |  |  | DI
9 | PSD_SLS-1 | ZYO-XV-2 | DI | 11 | XV-2 Открыт | SIS | PSD_SLS-1_M2 |  |  | DI
10 | PSD_SLS-1 | ZYC-XV-3 | DI | 12 | XV-3 Закрыт | SIS | PSD_SLS-1_M2 |  |  | DI
11 | PSD_SLS-1 | ZYO-XV-3 | DI | 13 | XV-3 Открыт | SIS | PSD_SLS-1_M2 |  |  | DI
12 | PSD_SLS-1 | XV-1 | DO | 14 | Закрыть клапан XV-1 | SIS | PSD_SLS-1_M2 |  |  | DO
13 | PSD_SLS-1 | XV-2 | DO | 15 | Закрыть клапан XV-2 | SIS | PSD_SLS-1_M2 |  |  | DO
14 | PSD_SLS-1 | XV-3 | DO | 16 | Закрыть клапан XV-3 | SIS | PSD_SLS-1_M2 |  |  | DO
27 | PSD_SLS-2 | TT1_1 | HART AI | 1 | Температура переднего подшипника P1 | SIS | PSD_SLS-2_M1 | Управление насосами P1, P2 |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
28 | PSD_SLS-2 | TT1_2 | HART AI | 2 | Температура заднего подшипника P1 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
29 | PSD_SLS-2 | TT2_1 | HART AI | 3 | Температура переднего подшипника P2 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
30 | PSD_SLS-2 | TT2_2 | HART AI | 4 | Температура заднего подшипника P2 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
31 | PSD_SLS-2 | LT-11 | HART AI | 5 | Уровень в емкости v1 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | % | 2 | LT-1x_LL | AVTR | 1 | 2 | Less Than | 20 | 10 | Vote to Trip if Bad | 2 | Yes
32 | PSD_SLS-2 | LT-12 | HART AI | 6 | Уровень в емкости v1 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | % | 2 | LT-1x_LL | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
33 | PSD_SLS-2 | LT-13 | HART AI | 7 | Уровень в емкости v1 | SIS | PSD_SLS-2_M1 |  |  | AI | 0 | 100 | % | 2 | LT-1x_LL | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
34 | PSD_SLS-2 | P1_STATE | DI | 9 | Состояние насоса P1 | SIS | PSD_SLS-2_M1 |  |  | DI
35 | PSD_SLS-2 | P2_STATE | DI | 10 | Состояние насоса P2 | SIS | PSD_SLS-2_M1 |  |  | DI
36 | PSD_SLS-2 | P1_START | DO | 12 | Пуск насоса P1 | SIS | PSD_SLS-2_M1 |  |  | DO
37 | PSD_SLS-2 | P1_STOP | DO | 13 | Останов насоса P1 | SIS | PSD_SLS-2_M1 |  |  | DO
38 | PSD_SLS-2 | P2_START | DO | 14 | Пуск насоса P2 | SIS | PSD_SLS-2_M1 |  |  | DO
39 | PSD_SLS-2 | P2_STOP | DO | 15 | Останов насоса P2 | SIS | PSD_SLS-2_M1 |  |  | DO
40 | PSD_SLS-3 | TT3_1 | HART AI | 1 | Температура переднего подшипника P3 | SIS | PSD_SLS-3_M1 | Управление насосами P3, P4 |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
41 | PSD_SLS-3 | TT3_2 | HART AI | 2 | Температура заднего подшипника P3 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
42 | PSD_SLS-3 | TT4_1 | HART AI | 3 | Температура переднего подшипника P4 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
43 | PSD_SLS-3 | TT4_2 | HART AI | 4 | Температура заднего подшипника P4 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | °C | 2 |  | AVTR |  |  | Greater Than | 65 | 70 | Vote to Trip if Bad |  | Yes
44 | PSD_SLS-3 | LT-31 | HART AI | 5 | Уровень в емкости v3 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | % | 2 | LT-3x_LL | AVTR | 1 | 2 | Less Than | 20 | 10 | Vote to Trip if Bad | 2 | Yes
45 | PSD_SLS-3 | LT-32 | HART AI | 6 | Уровень в емкости v3 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | % | 2 | LT-3x_LL | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
46 | PSD_SLS-3 | LT-33 | HART AI | 7 | Уровень в емкости v3 | SIS | PSD_SLS-3_M1 |  |  | AI | 0 | 100 | % | 2 | LT-3x_LL | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
47 | PSD_SLS-3 | P3_STATE | DI | 9 | Состояние насоса P3 | SIS | PSD_SLS-3_M1 |  |  | DI
48 | PSD_SLS-3 | P4_STATE | DI | 10 | Состояние насоса P4 | SIS | PSD_SLS-3_M1 |  |  | DI
49 | PSD_SLS-3 | P3_START | DO | 12 | Пуск насоса P3 | SIS | PSD_SLS-3_M1 |  |  | DO
50 | PSD_SLS-3 | P3_STOP | DO | 13 | Останов насоса P3 | SIS | PSD_SLS-3_M1 |  |  | DO
51 | PSD_SLS-3 | P4_START | DO | 14 | Пуск насоса P4 | SIS | PSD_SLS-3_M1 |  |  | DO
52 | PSD_SLS-3 | P4_STOP | DO | 15 | Останов насоса P4 | SIS | PSD_SLS-3_M1 |  |  | DO
53 | FGS_SLS-1 | QT-1 | AI | 1 | Датчик загазованности в операторной | FGS | FGS_SLS-1_M1 | Загазованность в операторной |  | AI | 0 | 100 | % | 2 | QT-1x_HH | AVTR | 1 | 2 | Greater Than | 99999 | 20 | Vote to Trip if Bad | 1.2 | Yes
54 | FGS_SLS-1 | QT-2 | AI | 2 | Датчик загазованности в операторной | FGS | FGS_SLS-1_M1 |  |  | AI |  |  | % | 2 | QT-1x_HH | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
55 | FGS_SLS-1 | QT-3 | AI | 3 | Датчик загазованности в операторной | FGS | FGS_SLS-1_M1 |  |  | AI |  |  | % | 2 | QT-1x_HH | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
56 | FGS_SLS-1 | QT-4 | AI | 4 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 | Загазованность в цехе |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 1 | 2 | Greater Than | 99999 | 20 | Vote to Trip if Bad | 1.2 | Yes
57 | FGS_SLS-1 | QT-5 | AI | 5 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 |  |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
58 | FGS_SLS-1 | QT-6 | AI | 6 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 |  |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
59 | FGS_SLS-1 | QT-7 | AI | 7 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 |  |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 4 |  |  |  |  | Vote to Trip if Bad |  | Yes
60 | FGS_SLS-1 | QT-8 | AI | 8 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 |  |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 5 |  |  |  |  | Vote to Trip if Bad |  | Yes
61 | FGS_SLS-1 | QT-9 | AI | 9 | Датчик загазованности в цехе | FGS | FGS_SLS-1_M2 |  |  | AI |  |  | % | 2 | QT-4x_HH | AVTR | 6 |  |  |  |  | Vote to Trip if Bad |  | Yes
62 | FGS_SLS-1 | HS-GAS-TEST | DI | 11 | Проверка светозвуковых сигналов | FGS | FGS_SLS-1_M2 |  |  | DI | [5 empty] | DVTR | [5 empty] | Always Use Value |  | Yes
63 | FGS_SLS-1 | HL-1 | DO | 13 | Световое табло в оператороной | FGS | FGS_SLS-1_M1 |  |  | DO
64 | FGS_SLS-1 | HL-2 | DO | 14 | Световое табло в цехе | FGS | FGS_SLS-1_M2 |  |  | DO
65 | FGS_SLS-1 | HAO-1 | DO | 15 | Звуковой сигнал о загазованности | FGS | FGS_SLS-1_M2 |  |  | DO
66 | FGS_SLS-2 | QT-10 | AI | 1 | Датчик загазованности в аппаратной | FGS | FGS_SLS-2_M1 | Загазованность в аппаратной |  | AI |  |  | % |  | QT-10x_HH | AVTR | 1 | 2 | Greater Than | 99999 | 20 | Vote to Trip if Bad | 1.2 | Yes
67 | FGS_SLS-2 | QT-11 | AI | 2 | Датчик загазованности в аппаратной | FGS | FGS_SLS-2_M1 |  |  | AI |  |  | % |  | QT-10x_HH | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
68 | FGS_SLS-2 | QT-12 | AI | 3 | Датчик загазованности в аппаратной | FGS | FGS_SLS-2_M1 |  |  | AI |  |  | % |  | QT-10x_HH | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
69 | FGS_SLS-2 | QT-13 | AI | 4 | Датчик загазованности в аппаратной | FGS | FGS_SLS-2_M1 |  |  | AI |  |  | % |  | QT-10x_HH | AVTR | 4 |  |  |  |  | Vote to Trip if Bad |  | Yes
70 | FGS_SLS-2 | QT-14 | AI | 5 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 | Загазованность в насосной |  | AI |  |  | % |  | QT-14x_HH | AVTR | 1 | 2 | Greater Than | 99999 | 20 | Vote to Trip if Bad | 1.2 | Yes
71 | FGS_SLS-2 | QT-15 | AI | 6 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 2 |  |  |  |  | Vote to Trip if Bad |  | Yes
72 | FGS_SLS-2 | QT-16 | AI | 7 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 3 |  |  |  |  | Vote to Trip if Bad |  | Yes
73 | FGS_SLS-2 | QT-17 | AI | 8 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 4 |  |  |  |  | Vote to Trip if Bad |  | Yes
74 | FGS_SLS-2 | QT-18 | AI | 9 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 5 |  |  |  |  | Vote to Trip if Bad |  | Yes
75 | FGS_SLS-2 | QT-19 | AI | 10 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 6 |  |  |  |  | Vote to Trip if Bad |  | Yes
76 | FGS_SLS-2 | QT-20 | AI | 11 | Датчик загазованности в насосной | FGS | FGS_SLS-2_M2 |  |  | AI |  |  | % |  | QT-14x_HH | AVTR | 7 |  |  |  |  | Vote to Trip if Bad |  | Yes
77 | FGS_SLS-2 | HL-3 | DO | 13 | Световое табло в аппаратной | FGS | FGS_SLS-2_M1 |  |  | DO
78 | FGS_SLS-2 | HL-4 | DO | 14 | Световое табло в насосной | FGS | FGS_SLS-2_M2 |  |  | DO
Note on X3: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X4: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X5: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X6: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X7: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X8: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X9: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X10: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X11: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X12: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X13: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X14: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X15: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X16: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X17: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X18: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X19: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X20: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X21: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X22: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X23: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X24: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X25: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X26: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X27: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X28: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X29: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X30: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X31: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X32: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X33: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X34: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X35: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X36: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X37: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X38: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X39: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X40: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X41: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X42: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X43: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X44: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X45: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X46: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X47: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X48: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X49: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X50: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X51: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X52: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X53: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X54: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X55: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X56: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X57: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X58: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X59: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X60: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X61: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X62: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X63: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X64: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X65: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X66: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X67: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface
Note on X68: List of possible states: 1 - A maintenance bypass reduces the number to trip 2 - Multiple maintenance bypasses are allowed 3 - Maintenance bypass timeout is for indication only 4 - Startup bypass preset is allowed while active 5 - Startup bypass expires upon stabilization 6 - Reminder applies to startup bypass 7 - Startup bypass duration is event based 8 - Bypass permit is not required to bypass 9 - Bypass permit control should be visible in operator interface